Author:			Dipl.-Biol. Thorsten Rieck

Year:			2010

Thesis title:	‚Multiplex real-time PCR for the detection of intestinal helminths and malarial parasites: an objective quality control approach for routine microscopy’

Research country: 	Gabon

Keywords:		real-time PCR, soil-transmitted helminths, malaria, microscopy

Involved research

Institutions:	Medical Research Center of the Albert-Schweitzer Hospital, Lambaréné, Gabon

Department of Parasitology, Leiden University Medical Center, The Netherlands

Institute for Tropical Medicine, University of Tübingen, Germany

Supervisors: 	Jaco J. Verweij, Department of Parasitology, Leiden University Medical Center, The Netherlands

ABSTRACT

BACKGROUND: Microscopy plays a prominent role in parasitology for malaria diagnosis and detection of intestinal helminths infections. Each protocol and technique has its difficulties and limitations, and the performance of microscopists is very much reflected by knowledge and working practice. Control procedures have to verify accuracy and reliability of the issued test results. The Medical Research Unit at the Albert Schweitzer Hospital (MRU-ASH) in Lambaréné, Gabon, is a leading African research center for infectious diseases found in sub-Saharan Africa. Here, I present the establishment of adapted and modified multiplex real-time PCR assays with previously demonstrated high sensitivity and specificity for the quality control of routine microscopy at MRU-ASH. Results from quality control of microscopy for mala-rial parasites and soil-transmitted helminths are presented. MATERIALS/METHODS: Reactions for the detection of Plasmodium falciparum / P. malariae, P. ovale / P. vivax, and Necator americanus / Ancylostoma duodenale / Ascaris lumbricoides were combined. Amplification efficiencies were assessed to test the ability to detect mixed infections, and interrun and interlaboratory tests were performed to quality control the PCR assays. Parasitological findings from microscopical analysis of fecal samples (N = 242) using Kato-Katz smears and coproculture and blood samples (N = 269) using thick smears from 6-25 year old residents of Lambaréné and a nearby rural region were compared to the results from multiplex-real time PCR, the latter regarded as gold standard. A local technician was trained in performing the molecular analysis. RESULTS: The assays’ mean efficiencies of intestinal helminths amplifications were well above 90 % and suitable for reliable detection of mixed infections. In the technical validation of the Plasmodium assays, mixed-species DNA was not accurately detected when a high difference of initial copy number was present. Interrun comparisons showed reliable performance. The limits of agreement between the results on two different PCR systems performed at different laboratories lay around ± 1 Ct value. Applying thick smears for the detection of malarial parasites had a sensitivity and specificity of 0.28 and 1.00 for P. falciparum, and a sensitivity of 0.57 for samples with a density ≥100 parasites/µl. No further malarial parasite species were found microscopically. In 5.5 % of all samples, P. malariae was detected by real-time PCR. Kato-Katz smears for the detection of A. lumbricoides had a sensitivity of 0.78 and a specificity of 0.97, for hookworm 0.55 and 0.99. Similar sensitivity and specificity for hookworm were obtained in coproculture. Sensitivity for hookworm was 0.64 when Kato-Katz and coproculture findings were combined. Microscopical differentiation of hookworm species was not performed, but in all cases where specific hookworm DNA amplification was demonstrated N. americanus was confirmed and A. duodenale excluded. In all cases, quantitative interpretations from PCR results correlated moderately or strongly with the parasite counts. DISCUSSION: Multiplex real-time PCR assays for the detection of helminth and Plasmodium specific DNA were established at the MRU-ASH in Lambaréné, Gabon. Interrun comparison and external quality control through interlaboratory comparison gave satisfying results. Sensitivity of P. falciparum microscopy was low and only moderate when assuming a detection limit at higher levels. PCR based detection of Plasmodium DNA showed decreased sensitivity in samples with artificially mixed targets of different plasmodial species. In contrast to PCR, no mixed species infections of malarial parasites were detected using thick smears possibly due to parasite densities below the detection limit of routine microscopy. The Kato-Katz procedure for A. lumbricoides had good sensitivity and satisfying specificity. Both Kato-Katz smears and coproculture for hookworm diagnosis had good specificities but only moderate sensitivity. Combining the two methods, sensitivity for hookworm detection increased only modestly. Replicate slides, cultures from single stool samples and examination by two microscopists might be beneficial to increase the quality of the issued results. A local technician was successfully trained for a chance on sustainable implementation of multiplex real-time PCR for regular quality control at MRU-ASH. Real-time PCR is a potent way to quality control routine diagnostic investigations, is employed in large scale epidemiological studies and has already found a place in individual patient care in the industrialized world.